Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 09EI219 / 10EI205 / E1203 / 14EI2005 / 18EI2002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # CONTROL SYSTEMS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Define transfer function. | CO2 | R | 1 |
| 2. | Find the equivalent element for B in force-voltage analogy. | CO1 | R | 1 |
| 3. | Name any two-time domain specifications. | CO2 | R | 1 |
| 4. | Find the number of branches in root locus plot, if the number of poles and zeros of the open loop transfer function are 3 and 2. | CO4 | R | 1 |
| 5. | Recall the gain cross over frequency and phase margin in bode plot. | CO4 | R | 1 |
| 6. | What does radial lines in polar graph sheet represent? | CO4 | R | 1 |
| 7. | Define stability of a system. | CO4 | R | 1 |
| 8. | Show the bode plot structure of the magnitude plot for the following open loop transfer function. GS= KS2 | CO4 | U | 1 |
| 9. | What is state variable? | CO3 | R | 1 |
| 10. | Interpret the concept of controllability in state variables. | CO3 | U | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Explain mason’s gain formula in detail. | CO2 | U | 3 |
| 12. | Analyze the stability of the system using RH Criteria. S4 + 8 S3 + 18 S2 + 16 S + 5 = 0. | CO4 | An | 3 |
| 13. | Distinguish time response and frequency response in a control system. | CO2 | An | 3 |
| 14. | Develop the transfer function of PID controller. | CO5 | A | 3 |
| 15. | Write the advantages of state model. | CO3 | R | 3 |
| 16. | Explain the properties of non-linear systems. | CO6 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Develop the differential equations governing the mechanical system shown in the figure. Also draw the force current analogous circuit and verify the equations. | CO1 | A | 12 |
| 18. | a. | Find the rise time, peak time, maximum peak overshoot and settling time for the closed loop transfer function shown below. CSRS= 10S2+2S+10 | CO2 | R | 12 |
| 19. | a. | Construct the root locus for the following system whose open loop transfer function is GS= KSS+1(S+2) | CO4 | A | 12 |
| 20. | a. | Identify the compensator depicted in the following figure and outline its characteristics, advantages and disadvantages. | CO5 | A | 6 |
|  | b. | Examine the stability of the system for the following characteristic equation. S4 + 4S3 + 16S2 + 16S + 48 = 0 | CO4 | An | 6 |

| 21. | a. | Determine the controllability and observability of the system whose state variable model of the system is given below. | CO3 | E | 8 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Determine eigen values for the system whose state model is given by the following: | CO3 | E | 4 |
| 22. | a. | Construct the bode plot for the following transfer function and determine the gain cross over frequency and phase cross over frequency. G(S) = 2S1+0.5S(1+0.05S) | CO4 | A | 12 |
| 23. | a. | Determine phase margin and gain margin by drawing polar plot for the system whose open loop transfer function is G(S) = 1S1+S(1+2S) | CO4 | E | 12 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | Interpret the non-linearities in physical system. | CO6 | U | 8 |
|  | b. | Explain the performance indices in control system. | CO6 | U | 4 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Develop mathematical model of physical systems |
| CO2 | Analyze the various linear models in time domain and frequency domain |
| CO3 | Outline the basics of state space representation of systems |
| CO4 | Examine the stability of systems |
| CO5 | Design appropriate controller for the given specifications |
| CO6 | Acquire knowledge on Optimal and Non-linear control. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 1 |  | 12 |  |  |  | 13 |
| CO2 | 14 | 3 |  | 3 |  |  | 20 |
| CO3 | 4 | 1 |  |  | 12 |  | 17 |
| CO4 | 4 | 1 | 24 | 9 | 12 |  | 50 |
| CO5 |  |  | 9 |  |  |  | 9 |
| CO6 |  | 15 |  |  |  |  | 15 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 17BM3016 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | SPEECH SIGNAL PROCESSING | # Max. Marks : | # 100 |

ANSWER ALL QUESTIONS (5 X 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | With necessary diagrams, explain the process of speech production mechanism. | CO1 / U | 10 |
|  | b. | Briefly explain the concept of short time analysis. | CO1 / R | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Illustrate the purpose of speech processing. | CO1 / R | 5 |
|  | b. | Describe the digital models of speech signal. | CO1 / U | 15 |
| 3. | a. | Illustrate the time domain parameters of speech. | CO2 / U | 15 |
|  | b. | Discuss briefly about the short time autocorrelation function. | CO2 / U | 5 |
| (OR) |  |  |  |  |
| 4. | a. | Estimate the methods for extracting the Pitch from Speech Signals. | CO2 / U | 10 |
|  | b. | Explain the techniques involved in synthesis systems. | CO2 / U | 10 |
| 5. | a. | Describe the concept of speech analysis in detail. | CO3 / U | 10 |
|  | b. | Explain the concept of speaker verification. | CO3 / U | 10 |
| (OR) |  |  |  |  |
| 6. |  | Demonstrate the theories of spectral estimation formulation and maximum likelihood formulation. | CO4 / AN | 20 |
| 7. |  | Illustrate the concept of central analysis of speech, format and pitch estimation. | CO5 / U | 20 |
| (OR) |  |  |  |  |
| 8. | a. | State the formulations of linear prediction analysis. | CO4 / R | 5 |
|  | b. | Explain the various algorithms used in speech recognition. | CO5 / AN | 15 |
|  |  | Compulsory: |  |  |
| 9. | a. | With a neat sketch, describe the working of speech synthesis system in detail. | CO5 / U | 10 |
|  | b. | Discuss the application of speech processing for elderly people. | CO5 / U | 10 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Qualitatively describe the mechanisms of human speech production |
| CO2 | Analyse speech signals in the time and frequency domains |
| CO3 | Solve problems regarding parameter estimation in source-filter production models for speech analysis |
| CO4 | Devise methods and systems for efficient quantization and coding of speech signals, speech enhancement and simple pattern-recognition. |
| CO5 | Evaluate the methods used for speech signal analysis and apply suitable methods for practical applications. |
| CO6 | Deign an simple system for speech processing |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 15 | 25 |  |  |  |  | 40 |
| CO2 |  | 40 |  |  |  |  | 40 |
| CO3 |  | 20 |  |  |  |  | 20 |
| CO4 | 5 |  |  | 20 |  |  | 25 |
| CO5 |  | 40 |  | 15 |  |  | 55 |
| CO6 |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | 180 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 17EI2023 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # OPTOELECTRONICS AND LASER BASED INSTRUMENTATION | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |
| 1. | State the principle of propagation of light through an optical fiber. | CO1 / R | 1 |
| 2. | Mention the causes for transmission losses in an optical fiber. | CO1 / U | 1 |
| 3. | Name two optical sources used in fiber optic applications. | CO2 / R | 1 |
| 4. | List few applications of fiber optic sensors. | CO2 / U | 1 |
| 5. | Define the term population inversion. | CO3 / R | 1 |
| 6. | Specify the characteristics of laser light. | CO3 / U | 1 |
| 7. | Which type of laser is popularly used in industrial applications? | CO4 / U | 1 |
| 8. | Give one application of LIDAR. | CO4 / A | 1 |
| 9. | Write the principle of Holography. | CO5 / R | 1 |
| 10. | List few applications of lasers as therapeutic device. | CO5 / U | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 11. | Define Numerical Aperture of an optical fiber. | CO1 / R | 3 |
| 12. | Describe the measurement of pressure using optical fibers. | CO2 / U | 3 |
| 13. | Compare three level and four level lasers. | CO3 / An | 3 |
| 14. | Illustrate the principle of velocity measurement using laser. | CO4 / U | 3 |
| 15. | Describe the concept of laser endoscopy. | CO5 / U | 3 |
| 16. | Differentiate photograph and holograph. | CO6 / An | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23. Q.No 24 is Compulsory) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 17. | a. | With relevant diagrams and equations, explain how light is propagated through an optical fiber. | CO1 / U | 6 |
|  | b. | List the advantages of optical fiber cables over coaxial cables. | CO1 / An | 6 |
| 18. | a. | Give the classification of optical fiber and the characteristics of each type. | CO3 / An | 6 |
|  | b. | Discuss the construction, principle of operation and working of PIN photodiode and Avalanche photodiode. | CO2 / U | 6 |

| 19. |  | With relevant diagrams, explain the working of Ruby laser and CO2 laser. | CO4 / U | 12 |
| --- | --- | --- | --- | --- |
| 20. |  | Illustrate the applications of lasers for material processing with relevant diagrams and explanations. | CO6 / A | 12 |
| 21. | a. | Mention the stages involved in holography. Explain each one with necessary illustrations. | CO5 / U | 8 |
|  | b. | Specify the conditions to obtain a good hologram. | CO3 / U | 4 |
| 22. |  | Write a short note on the photothermal and photochemical applications of lasers in medicine. | CO6 / A | 12 |
| 23. |  | Lasers are used for accurate measurement of distance and length. Justify this statement with necessary diagrams and explanation. | CO5 / A | 12 |
|  |  | Compulsory: |  |  |
| 24. |  | With a neat block diagram, explain how holographic technique is used for non-destructive testing of materials. | CO6 / A | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Describe the principle of fiber optic communication |
| CO2 | Explain the various sources and detectors used for fiber optic communication |
| CO3 | Apply the principle of fiber optics in sensing various industrial applications |
| CO4 | Understand the principle of LASER |
| CO5 | Categorize the types of LASERS |
| CO6 | Describe the Medical application of LASER |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 4 | 7 | - | 6 | - | - | 17 |
| CO2 | 1 | 10 | - | - | - | - | 11 |
| CO3 | 1 | 7 | - | 9 | - | - | 15 |
| CO4 | - | 3 | 14 | - | - | - | 17 |
| CO5 | 1 | 12 | 12 | - | - | - | 25 |
| CO6 | - | - | 26 | 3 | - | - | 39 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 17EI2024 / 14EI2024 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # POWER PLANT INSTRUMENTATION | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |
| 1. | _________ is the major disadvantage of solar power. | CO1 / R | 1 |
| 2. | A condenser in a thermal power plant condenses steam combing out of _________. | CO1 / U | 1 |
| 3. | The function of turbine is converting __________ energy into ___________. | CO2 / R | 1 |
| 4. | Buffers have the ability to _________. | CO2 / R | 1 |
| 5. | Energy available in fuels is stored as ___________. | CO3 / R | 1 |
| 6. | pH of feed water to boiler is ___________. | CO3 / U | 1 |
| 7. | X-Ray is a form of ___________ Energy. | CO4 / R | 1 |
| 8. | ___________ is the principle of thermistors. | CO4 / R | 1 |
| 9. | Give one application of vibration measurement. | CO5 / U | 1 |
| 10. | The turbine shell temperature is measured using __________. | CO5 / A | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 11. | Draw the circuit of Potential Transformer. | CO1 / R | 3 |
| 12. | A 1mA D’arsonval movement with an internal resistance of 100Ω is to be converted into a 0-100mA ammeter. Calculate the shunt resistance required. | CO2 / U | 3 |
| 13. | State the role of Attemperators. | CO3 / A | 3 |
| 14. | Write the difference between RTD and thermistors. | CO4 / U | 3 |
| 15. | Define Viscosity. | CO5 / R | 3 |
| 16. | Write the principle of Saybolt viscometer. | CO5 / R | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23. Q.No 24 is Compulsory) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 17. |  | With a neat sketch, explain the process of electric power generation in a nuclear power plant. | CO1 / A | 12 |
| 18. |  | With neat sketch explain the working principle of thermal power plant. | CO2 / A | 12 |
| 19. | a. | Write short notes on Water level measurement in boiler. | CO3 / E | 6 |
|  | b. | Write short notes on infrared flue gas analyzer. | CO4 / A | 6 |
| 20. |  | Draw & explain the generalized structure of cascade control scheme for steam temperature control. | CO5 /An | 12 |
| 21. |  | Briefly explain the drum level control loops in water circuit. | CO6 / E | 12 |

| 22. |  | Explain the construction and working principle of energy meter. | CO6 / C | 12 |
| --- | --- | --- | --- | --- |
| 23. |  | Discuss briefly about the control loops in furnace draft control. | CO6 / E | 12 |
|  |  | Compulsory: |  |  |
| 24. |  | Explain in detail about the operation and principle of Dissolved oxygen analyzer. | CO6 / An | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Identify the methods of power generation |
| CO2 | Apply the concepts to design instrumentation systems for a power plant |
| CO3 | Choose a suitable control schemes for a specific operation |
| CO4 | Explain the various measurement techniques in power plant |
| CO5 | Categorize the different types of analyzers for safety purpose |
| CO6 | Illustrate the control of a variety of parameters in power plant |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 4 | 1 | 12 | - | - | - | 17 |
| CO2 | 2 | 3 | 12 | - | - | - | 17 |
| CO3 | 1 | 1 | 3 | - | 6 | - | 11 |
| CO4 | 2 | 3 | 6 | - | - | - | 11 |
| CO5 | 6 | 1 | 1 | 12 | - | - | 20 |
| CO6 | - | - | - | 12 | 24 | 12 | 48 |
|  |  |  |  |  |  |  | 135 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 17EI2028 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | SCADA SYSTEMS DESIGN | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |
| 1. | Define scan cycle time of PLC. | CO1 / R | 1 |
| 2. | Define Protocols. | CO1 / R | 1 |
| 3. | If the MTU instructed the RTU to operate a valve gradually, which type of control to be used? | CO2 / An | 1 |
| 4. | Identify the type of control to be used to energize the solenoid. | CO2 / An | 1 |
| 5. | Write down the function of RTU. | CO3 / U | 1 |
| 6. | The communication method used by most existing SCADA system is called master-salve. Say True or False. | CO3 / U | 1 |
| 7. | MTU uses the same protocol as the RTU. Justify. | CO4 / A | 1 |
| 8. | More than _______% of all messages from the MTU to RTU are automatically initiated. | CO5 / R | 1 |
| 9. | The Master Terminal Unit (MTU) collects and processes the data from ___________ or PLC inputs and outputs, while the PLC or RTU controls field devices or a local process. | CO5 / A | 1 |
| 10. | Identify the heart of the SCADA system that communicates with remote filed sides RTUs. | CO6 / A | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 11. | Write any five application process where SCADA system is being used. |  | CO1 / U |  | 3 |  |
| 12. | Name four forms of signal can an RTU generate to control field equipment. |  | CO2 / R |  | 3 |  |
| 13. | Mention the purpose of flow totalizer. |  | CO3 / A |  | 3 |  |
| 14. | Explain volume balance method. |  | CO4 / U |  | 3 |  |
| 15. | MTU uses the same protocol as the RTU. Justify. |  | CO5 / A |  | 3 |  |
| 16. | Mention the effects of various alarms in SCADA. |  | CO6 / A |  | 3 |  |
| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23. Q.No 24 is Compulsory) |  |  |  |  |  |  |  |  |
| 17. |  | Define SCADA system. With relevant diagram, explain the elements of SCADA system. |  | CO1 / R |  | 12 |  |  |

| 18. |  | Mention the classification of SCADA architectures. Explain each in detail. Also list out the advantages and disadvantages of each architecture. | CO1 / R | 12 |
| --- | --- | --- | --- | --- |
| 19. | a. | With relevant diagram, explain the procedure for discrete control and analog control on an RTU. | CO2 / U | 6 |
|  | b. | With relevant diagram, explain the procedure to configure the MTU. | CO2 / U | 6 |
| 20. | a. | With relevant diagram describe the expanded block box description of an RTU. | CO3 / R | 6 |
|  | b. | List out three basic fields in the binary message as per ANSI/IEEE C37.1-1979 standard. Explain each in detail. | CO3 /An | 6 |
| 21. | a. | With relevant diagram, explain the procedure to monitor digital and analog signals on an RTU. | CO4 / U | 8 |
|  | b. | MTU store the data in Central data store. Say True or False. Justify your answer in detail. | CO4 /An | 4 |
| 22. | a. | Implement the following application using SCADA layout and configuration. Application: The MTU start a scan of every RTU every 10 minutes. The condition of every alarm point that is read be compared to its condition or to the previous scan and that, if there is a difference, the new condition plus the time of the last scan be printed on the alarm log. | CO4 /An | 6 |
|  | b. | Draw the pipeline under control of an MTU with RTU. Explain in detail. | CO4 / U | 6 |
| 23. |  | List out the communication protocols used for SCADA systems. Explain in detail. | CO6 / U | 12 |
|  |  | Compulsory: |  |  |
| 24. |  | With relevant diagrams, explain the application of SCADA monitoring and controlling a gas lift system in detail. Also explain the scan time of various RTUs used in the system. | CO5 / A | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Appreciate the need of Data Acquisition |
| CO2 | Apply the concept of Supervisory Control |
| CO3 | Perform simulation for various processes. |
| CO4 | Describe the programming logic involved in automation |
| CO5 | Analyze SCADA protocol for effective communication |
| CO6 | Apply the concept of optical and wireless techniques |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 26 | 3 |  |  |  |  | 29 |
| CO2 | 3 | 12 |  | 2 |  |  | 17 |
| CO3 | 6 | 2 | 3 | 6 |  |  | 17 |
| CO4 | 1 | 17 | 1 | 10 |  |  | 29 |
| CO5 |  |  | 16 |  |  |  | 16 |
| CO6 |  | 12 | 4 |  |  |  | 16 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 17EI2039 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # FIBER OPTICS AND LASER INSTRUMENTATION | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |
| 1. | What is the name of the optical material surrounding the core that reflects the light back into the core? | CO3 / R | 1 |
| 2. | Which medium is preferred for long distance communication? | CO3 / R | 1 |
| 3. | Name a semiconductor device which is used as a source of light in the optical communication system. | CO3 / R | 1 |
| 4. | Which diode can produce high intensity coherent light? | CO5 / R | 1 |
| 5. | List the properties of LASER. | CO5 / R | 1 |
| 6. | Define population inversion. | CO5 / R | 1 |
| 7. | Identify the pumping mechanism in laser system, which there is movement of electrons in “junctions” between “holes”. | CO6 / A | 1 |
| 8. | Which LASER instrument is used to study atmospheric properties? | CO2 / R | 1 |
| 9. | Name a geometric method used for distance measurement in the range of 1mm to many kilometers. | CO2 / R | 1 |
| 10. | Name a medical application of LASER. | CO2 / R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 11. | Explain the construction of optical fiber. | CO4 / U | 3 |
| 12. | Show the block diagram of fiber optic sensor. | CO1 / R | 3 |
| 13. | Categorize the applications of LASER. | CO2 / An | 3 |
| 14. | Explain the pumping methods available for population inversion. | CO5 / U | 3 |
| 15. | How velocity of a flowing liquid can be calculated using LASER? | CO6 / R | 3 |
| 16. | List the major categories of light tissue interaction that lead to alteration of the tissue structure. | CO2 / R | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23. Q.No 24 is Compulsory) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 17. | a. | Illustrate the transmission of signals through optical fiber communication system with a neat block diagram. | CO3 / U | 12 |
| 18. | a. | Summarize the working principle and construction of LASER diode. | CO5 / U | 12 |
| 19. | a. | Examine the measurement of liquid level measurement using total internal reflection and refractive index. | CO4 / An | 12 |
| 20. | a. | Outline the working principle of Helium-Neon LASER with a neat diagram. | CO2 / U | 12 |

| 21. | a. | Summarize the industrial applications of LASER in material processing. | CO6 / U | 12 |
| --- | --- | --- | --- | --- |
| 22. | a. | How atmospheric effect can be measured through LASER? | CO6 / R | 12 |
| 23. | a. | Outline the features of fiber optic sensors. | CO1 / U | 6 |
|  | b. | What are the common components of all LASER system? | CO5 / R | 6 |
|  |  | Compulsory: |  |  |
| 24. | a. | Explain the step-by-step procedure involved in hologram recording. | CO2 / U | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Understand measurement techniques in Optical fibers |
| CO2 | Apply LASER in Instrumentation and Biomedical applications. |
| CO3 | Understand the basic concepts of optical fibers and their properties. |
| CO4 | To provide adequate knowledge about the Industrial applications of optical fibers. |
| CO5 | Ability to understand Laser fundamentals. |
| CO6 | Adequate knowledge about Industrial application of lasers |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 3 | 6 | - | - | - | - | 9 |
| CO2 | 6 | 24 | - | 3 | - | - | 33 |
| CO3 | 3 | 12 | - | - | - | - | 15 |
| CO4 | - | 3 | - | 12 | - | - | 15 |
| CO5 | 9 | 15 | - | - | - | - | 24 |
| CO6 | 15 | 12 | 1 | - | - | - | 28 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 18BM2014 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # REALTIME EMBEDDED SYSTEMS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Name the embedded system which supports 32-64 bit multiple chips and can perform distributed jobs. | CO1 | R | 1 |
| 2. | Identify the processor with an instruction set designed for specific applications on a VLSI chip. | CO1 | R | 1 |
| 3. | List any two software tools used in the embedded system. | CO2 | U | 1 |
| 4. | Which clock causes occurrences of regular interval interrupts on each tick? | CO2 | U | 1 |
| 5. | Write the DDR register instruction to make a lower nibble of port A as output and a higher nibble as input. | CO3 | U | 1 |
| 6. | What is the significance of the OCR register in Timer operation of ATmega controller. | CO3 | A | 1 |
| 7. | What are source files? | CO4 | U | 1 |
| 8. | Mention any one advantage of high-level language programming. | CO4 | R | 1 |
| 9. | What is a state diagram? | CO5 | U | 1 |
| 10. | Give two types of semaphores in RTOS. | CO5 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | What are the characteristics of embedded system? | CO1 | U | 3 |
| 12. | What are process deadlines? | CO2 | U | 3 |
| 13. | Distinguish between timer and counter. | CO3 | U | 3 |
| 14. | Write an assembly language instructions in ATmega microcontroller to make port A as input with enabled pull-ups and to read data from Port A. | CO4 | A | 3 |
| 15. | Give the significance of context switching. | CO5 | U | 3 |
| 16. | Define task. | CO5 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 17. | a. | Describe the various hardware units of the embedded system. |  | CO1 | U | 6 |
|  | b. | What are the significance of interrupts and their handling by the program. |  | CO1 | U | 6 |
| 18. | a. | Summarize the issues related to hardware and software design. |  | CO2 | U | 6 |
|  | b. | Describe the functions of compiler, linker, locator, and interpreter. |  | CO2 | U | 6 |
| 19. | a. | Explain timer operation in Normal mode. |  | CO3 | U | 6 |
|  | b. | Write an assembly language program to toggle LED for 1 second using the timer. |  | CO3 | A | 6 |
| 20. | a. | Discuss the advantages of embedded programming in JAVA. |  | CO4 | U | 6 |
|  | b. | Describe different data structures and how it is put in the memory blocks in an organized way. |  | CO4 | U | 6 |
| 21. | a. | Categorize different task states in RTOS. |  | CO5 | U | 6 |
|  | b. | Illustrate,for example, the different types of scheduling algorithms. |  | CO5 | A | 6 |
| 22. | a. | Summarize various design metrics for an embedded system. |  | CO2 | U | 6 |
|  | b. | Illustrate with an example, the different classifications of an embedded system based on complexity and performance. |  | CO2 | A | 6 |
| 23. | a. | List the features of the AVR 8 bit microcontroller. |  | CO3 | U | 6 |
|  | b. | Write the assembly language program to read the switch status and glow the LED for one second when the switch is ON. |  | CO3 | A | 6 |
|  |  | Compulsory: |  |  |  |  |
| 24. | a. | With a block diagram, explain stepper motor interfacing with microcontroller. Write an embedded C program to rotate the motor in a clockwise direction. |  | CO6 | AN | 6 |
|  | b. | Summarize the significance of real-time embedded systems for robotics. |  | CO6 | U | 6 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Discuss the basics of embedded systems and their hardware units |
| CO2 | Identify the various tools and development process of embedded system |
| CO3 | Demonstrate the various I/O interfacing with the microcontroller |
| CO4 | Create the programming for embedded system design |
| CO5 | Summarize the real-time models, languages, and operating systems |
| CO6 | Design a real-time embedded system for biomedical applications |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 2 | 15 | - | - | - | - | 17 |
| CO2 | - | 23 | 6 | - |  |  | 29 |
| CO3 | - | 16 | 13 | - | - | - | 29 |
| CO4 | 1 | 16 | - | - |  |  | 17 |
| CO5 | 1 | 13 | 6 | - | - | - | 20 |
| CO6 | - | 6 | - | 6 | - | - | 12 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 18BM2015 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL DIAGNOSTICS AND THERAPEUTIC EQUIPMENT II | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Describe microshock. | CO1 | U | 1 |
| 2. | State the principle of spectrophotometer. | CO1 | R | 1 |
| 3. | List the sedative agents used in anesthesia machine. | CO2 | R | 1 |
| 4. | The process of natural release of photons due to transition of electrons is called___________. | CO3 | R | 1 |
| 5. | State the need of volumetric pumps. | CO4 | U | 1 |
| 6. | What is a tonometer? | CO5 | R | 1 |
| 7. | Syringe pumps are used for ____________. | CO6 | R | 1 |
| 8. | What are shock waves? | CO4 | R | 1 |
| 9. | List the significance cryogenic therapy. | CO5 | R | 1 |
| 10. | ___________ is a type of endoscope for viewing joints. | CO6 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | State the significance of holter monitor. | CO1 | U | 3 |
| 12. | Mention the use of vaporizer and flow meter. | CO2 | U | 3 |
| 13. | Portray the block diagram of dialysis machine. | CO3 | R | 3 |
| 14. | List the therapeutic use of ultrasonic therapy. | CO4 | R | 3 |
| 15. | Brief the significance of biofeedback instrumentation. | CO5 | R | 3 |
| 16. | Discuss implantable infusion pumps. | CO6 | R | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. |  | Articulate various protective devices employed in hospitals to prevent electric hazards. | CO1 | An | 12 |
| 18. |  | Sketch a Boyle machine and describe the working principle in detail. | CO2 | U | 12 |

| 19. | a. | Illustrate the clinical working procedure of peritoneal dialysis machine with a neat sketch. | CO3 | U | 8 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Compare hemodialysis and peritoneal dialysis. | CO3 | An | 4 |
| 20. |  | Describe NG-Yag LASER working principle and narrate its characteristic features and its applications. | CO4 | U | 12 |
| 21. | a. | With a neat circuit, explain the working of tonometer. | CO5 | U | 6 |
|  | b. | Relate the types of ophthalmoscopes. | CO5 | An | 6 |
| 22. |  | Portray a lithotripter and explain its clinical functioning. | CO4 | U | 12 |
| 23. |  | Explain the principle of shortwave diathermy. Illustrate the types of shortwave diathermy and explain its merits and demerits. | CO5 | U | 12 |
|  |  | Compulsory: |  |  |  |
| 24. |  | Explain various types of BMD measurement techniques. | CO6 | U | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Describe the principle involved in clinical and optical equipments. |
| CO2 | Identify the various therapeutic devices for pulmonary diseases. |
| CO3 | Apply the appropriate therapeutic device related to kidney ailment. |
| CO4 | Demonstrate the functions and applications of electrotherapy and lasers |
| CO5 | Assess the merits and demerits of the diagnostic equipments for basic senses. |
| CO6 | Design new therapeutic devices for particular application based on given specifications. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 1 | 4 | - | 12 | - | - | 17 |
| CO2 | 1 | 15 | - | - | - | - | 16 |
| CO3 | 4 | 8 | - | 4 | - | - | 17 |
| CO4 | 4 | 25 | - | - | - | - | 29 |
| CO5 | 5 | 18 | - | 6 | - | - | 29 |
| CO6 | = | 17 | - | - | - | - | 17 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 18BM2020 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # HOSPITAL MANAGEMENT | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Recognize the role of clinical engineer in a hospital environment. | CO1 | U | 1 |
| 2. | Enlist the medical facilities in outpatient services. | CO1 | U | 1 |
| 3. | Indicate the scope of national health policy. | CO2 | R | 1 |
| 4. | Identify the source of funds for a hospital. | CO2 | R | 1 |
| 5. | Infer the method for fixing wages for physician in a hospital. | CO3 | A | 1 |
| 6. | Indicate the number of beds available in a medium size hospital. | CO3 | An | 1 |
| 7. | Mention the conditions for classifying a medical device. | CO4 | An | 1 |
| 8. | Indicate the functions of food and drug association for medical devices. | CO5 | A | 1 |
| 9. | Confer the medical services offered in primary healthcare service. | CO6 | A | 1 |
| 10. | Suggest the mechanism of communication from remote patient. | CO6 | C | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Give the educational responsibilities of biomedical engineers. | CO1 | U | 3 |
| 12. | List few medical devices characterized under Class B. | CO4 | An | 3 |
| 13. | Compare the medical device regulating agencies in India and abroad. | CO5 | An | 3 |
| 14. | Enlist the clinical laboratory devices that are certified under NABL. | CO4 | R | 3 |
| 15. | Identify the scope of Medical Device regulation. | CO5 | A | 3 |
| 16. | Confer the applications of computers in clinical laboratory. | CO6 | A | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Discuss the challenges in hospital administration. | CO1 | An | 8 |
|  | b. | Compare the staff structure in hospital with industry. | CO1 | An | 4 |
| 18. |  | Analyze the importance of health policy of the nation for public health. | CO2 | An | 12 |
| 19. |  | Contrast the hospital structure and industrial organization. | CO1 | A | 12 |
| 20. |  | Illustrate the various levels of training for hospital professionals. | CO3 | U | 12 |

| 21. |  | Develop the model for the employee appraisal methods in the hospital. | CO3 | C | 12 |
| --- | --- | --- | --- | --- | --- |
| 22. |  | Discuss the classifications of various medical devices with suitable illustration. | CO4 | A | 12 |
| 23. |  | Evaluate the application of quality management system for a medical device in accordance with Indian standards. | CO5 | E | 12 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | Evaluate the computer based Picture Archival System for management of radiological records. | CO6 | E | 8 |
|  | b. | Enlist the applications of digital patient record. | CO6 | U | 4 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Identify the need for clinical engineering in healthcare system. |
| CO2 | Evaluate the use of various health policies. |
| CO3 | Describe how high quality training is delivered for technical staff. |
| CO4 | Demonstrate the quality management concept in health care. |
| CO5 | Debate the concepts of quality and safety. |
| CO6 | Apply the concept of information technology in medicine. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | - | 5 | 12 | - | - | - | 17 |
| CO2 | 2 |  |  | 12 |  |  | 14 |
| CO3 | - | 12 | 1 | 1 | - | 12 | 26 |
| CO4 | 3 |  | 12 | 16 | 12 |  | 43 |
| CO5 |  |  | 4 | 3 | - | - | 7 |
| CO6 |  | 4 | 4 |  | 8 | 1 | 17 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 18EI2005 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEASUREMENT AND INSTRUMENTATION | # Max. Marks : | # 100 |

| Q. No. | Questions |  | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |  |
| 1. |  | Name an instrument for indirect measurement. | CO1 | R | 1 |
| 2. |  | Recall the value of sensitivity of a linear scale. | CO1 | R | 1 |
| 3. |  | If RSE is 0.05 then find the value of % RSE. | CO2 | R | 1 |
| 4. |  | Find the variance if standard deviation is 25. | CO2 | R | 1 |
| 5. |  | Recall the basic instrument for measuring pressure. | CO3 | R | 1 |
| 6. |  | Identify the parameter measured using tachometer. | CO3 | A | 1 |
| 7. |  | Recall the measurement that can be done using a Permanent magnet moving coil instrument. | CO4 | R | 1 |
| 8. |  | What is the purpose of regulator in hall effect sensor? | CO4 | R | 1 |
| 9. |  | Relate the meaning of zero value in Megger while measuring insulation resistance. | CO5 | R | 1 |
| 10. |  | Where does the clamp on meters used? | CO5 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | R1 = (100 ± 4) Ω, R2 = (50 ± 2) Ω. Infer the value of R1 + R2. | CO1 | U | 3 |
| 12. | Distinguish deviation, average deviation and standard deviation. | CO2 | An | 3 |
| 13. | Explain the methods for temperature measurement. | CO3 | U | 3 |
| 14. | What are the advantages of instrument transformers? | CO4 | R | 3 |
| 15. | List the applications of Megger. | CO5 | R | 3 |
| 16. | Name the components in digital oscilloscope. | CO6 | R | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Explain the characteristics of a basic instrument. | CO1 | U | 12 |
| 18. | a. | Illustrate the types of static errors and the types of systematic errors. | CO2 | U | 8 |
|  | b. | What is six sigma? Recall its characteristics. | CO2 | R | 4 |
| 19. | a. | Classify the types of pressures and the various methods to measure pressure. | CO3 | U | 8 |
|  | b. | Show the arrangement for position measurement using LVDT method. | CO3 | U | 4 |

| 20. | a. | Choose the appropriate shunt resistance if 0.1 An ammeter having a resistance of 10Ω is to be converted to a 1 A ammeter. |  | CO4 |  | A |  | 4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | b. | Show how inductance can be measured using Maxwell’s inductance bridge with a neat diagram. |  | CO4 |  | U |  | 8 |
| 21. |  | Show the construction of Megger and explain its working principle. |  | CO5 |  | U |  | 12 |
| 22. |  | Explain the working of PMMC with necessary diagrams and derive an equation for deflecting torque and angle of deflection in PMMC. |  | CO4 |  | U |  | 12 |
| 23. | a. | Classify the different types of bridges for measuring resistance, inductance and capacitance. |  | CO4 |  | U |  | 6 |
|  | b. | Show the wheat stone bridge and derive equation for bridge balance condition. |  | CO4 |  | U |  | 6 |
|  |  | Compulsory: |  |  |  |  |  |  |
| 24. |  | Illustrate the working of digital storage oscilloscope with necessary diagrams. | CO6 |  | U |  | 12 |  |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Analyze the dynamic response and the calibration of few instruments |
| CO2 | Perform statistical data analysis. |
| CO3 | Discuss about various measurement devices, their characteristics, their operation and their limitations. |
| CO4 | Describe the concept of current and voltage measurement. |
| CO5 | Apply knowledge of digital devices for measurement. |
| CO6 | Describe the fundamental of computerized data acquisition. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 2 | 15 | - | - | - | - | 17 |
| CO2 | 6 | 8 | - | 3 | - | - | 17 |
| CO3 | 1 | 15 | 1 | - | - | - | 17 |
| CO4 | 5 | 32 | 4 | - | - | - | 41 |
| CO5 | 5 | 12 | - | - | - | - | 17 |
| CO6 | 3 | 12 | - | - | - | - | 15 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 18EI2011 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # VIRTUAL INSTRUMENTATION THEORY AND APPLICATIONS | # Max. Marks : | # 100 |

| Q. No. | Questions |  | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |  |
| 1. |  | List the different layers of VI software. | CO1 | R | 1 |
| 2. |  | Define virtual instrumentation. | CO1 | R | 1 |
| 3. |  | Recall the three parts of LabVIEW. | CO2 | R | 1 |
| 4. |  | What is module or Sub VI? | CO2 | R | 1 |
| 5. |  | Name the different operations of cluster. | CO2 | R | 1 |
| 6. |  | Spell a few string functions. | CO2 | R | 1 |
| 7. |  | List out the three different commands used for configuring instrument assistant. | CO3 | R | 1 |
| 8. |  | Define signal conditioning. | CO3 | R | 1 |
| 9. |  | Classify the common instrument interfaces. | CO4 | U | 1 |
| 10. |  | Identify the tool that is used for image analysis. | CO5 | A | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Distinguish Graphical programming with Textual programming. | CO1 | An | 3 |
| 12. | Construct a VI for converting Celsius to Fahrenheit | CO2 | A | 3 |
| 13. | Build a VI to find the sum and product of array elements. | CO2 | A | 3 |
| 14. | Justify the need of signal conditioning in virtual instrumentation. | CO3 | E | 3 |
| 15. | Compare RS232, RS422 and RS485. | CO4 | U | 3 |
| 16. | Outline the timed loop modes. | CO6 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q. No. 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Discuss the architecture of virtual instrumentation with appropriate sketch. | CO1 | C | 10 |
|  | b. | Compare traditional and virtual instrumentation. | CO1 | U | 2 |
| 18. | a. | Illustrate the front panel objects and their functions in detail with an example. | CO2 | U | 12 |
| 19. | a. | Build a VI that generates a 1D array and then multiplies pairs of elements together and outputs the resulting array. For example, the input array with values 1, 23, 10, 5, 7, 11 will result in the output array 23, 50, 77 | CO2 | A | 12 |

| 20. | a. | Explain the different functions of Signal conditioning system. | CO3 | U | 8 |
| --- | --- | --- | --- | --- | --- |
|  | b. | How the Signal conditioning system is chosen to a transducer? | CO3 | R | 4 |
| 21. | a. | Explain GPIB communication, configuring and addressing in detail. | CO4 | U | 7 |
|  | b. | What is VISA? List its advantages. | CO4 | R | 5 |
| 22. | a. | Outline the major components of the PC based data acquisition system. | CO5 | U | 4 |
|  | b. | Illustrate the concept of strings in LabVIEW with an example. | CO2 | U | 8 |
| 23. | a. | Build a VI to find the rank of a matrix using matrix functions. | CO2 | A | 6 |
|  | b. | Summarize the use of case structure in LabVIEW through an example. | CO2 | U | 6 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | Explain motion and speed control applications using Lab VIEW. | CO6 | U | 8 |
|  | b. | Summarize the control design and simulation tools in LabVIEW. | CO6 | U | 4 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Understand Virtual Instrument concepts |
| CO2 | Create a Virtual Instrument using graphical programming |
| CO3 | Develop systems for real-time signal acquisition and analysis |
| CO4 | Apply concepts of network interface for data communication |
| CO5 | Implement and design data acquisition systems for practical applications |
| CO6 | Suggest solutions for automation and control applications using virtual instrumentation |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 2 | 2 |  | 3 |  | 10 | 17 |
| CO2 | 4 | 26 | 24 |  |  |  | 54 |
| CO3 | 6 | 8 |  |  | 3 |  | 17 |
| CO4 | 5 | 11 |  |  |  |  | 16 |
| CO5 |  | 4 | 1 |  |  |  | 5 |
| CO6 |  | 15 |  |  |  |  | 15 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2006 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # GRAPHICAL SYSTEM DESIGN FOR BIOMEDICAL ENGINEERS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Give the expansion for LabVIEW. | CO1 | R | 1 |
| 2. | Mention the graphical representation of a VI. | CO1 | R | 1 |
| 3. | State the definition for arrays. | CO2 | U | 1 |
| 4. | Identify the working of the block. | CO2 | R | 1 |
| 5. | Mention the powerful tool for application programming. | CO4 | R | 1 |
| 6. | Identify the variable that is used to access values of any data type between several VIs. | CO2 | R | 1 |
| 7. | Mention the function that is used to store the state variable. | CO3 | R | 1 |
| 8. | Identify the location of VI properties. | CO3 | R | 1 |
| 9. | List the types of loop operations in LabVIEW. | CO3 | R | 1 |
| 10. | Name the functionality that manipulate the appearance and behavior of user interface. | CO4 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Distinguish between Text based programming and graphical programming. | CO1 | U | 3 |
| 12. | Give an example for property node. | CO2 | A | 3 |
| 13. | Describe the properties of shared variable. | CO2 | U | 3 |
| 14. | Discuss about functional global variables. | CO1 | U | 3 |
| 15. | Write short notes on VI metrics. | CO2 | U | 3 |
| 16. | Discuss the role of LabVIEW in controlling assistive devices. | CO3 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Describe the steps to create an application in LabVIEW and the components of virtual instrumentation. | CO1 | U | 12 |
| 18. | a. | Illustrate the concept of Flat and Stacked Sequence with relevant examples. | CO2 | A | 12 |

| 19. | a. | Design a VI to generate a message and transmit it to various receivers by using Notifiers. | CO4 | A | 12 |
| --- | --- | --- | --- | --- | --- |
| 20. | a. | Create a VI to find the body temperature and display the temperature in Celsius and Fahrenheit. | CO3 | A | 6 |
|  | b. | Summarize the working of simple state machine. | CO2 | U | 6 |
| 21. | a. | Describe the user interface event handler and queued message event handler. | CO4 | U | 8 |
|  | b. | Discuss the connection panes and connector types. | CO2 | U | 4 |
| 22. | a. | Explain the TCP and UDP communication protocols in detail. | CO4 | U | 8 |
|  | b. | Discuss the data structure design methodology. | CO3 | U | 4 |
| 23. | a. | Explain the concept of error handlers and the different types of error handling VIs. | CO6 | A | 12 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | Explain the application of LabVIEW in biomedical signal processing. | CO5 | A | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Understand the basics of LabVIEW programming |
| CO2 | Interface with real time signals |
| CO3 | Analyzing the application of VIs in medical instrumentation in developing medical instruments |
| CO4 | Interpret the concepts of data communication and synchronization |
| CO5 | Perform signal processing operations using virtual instrumentation |
| CO6 | Apply virtual instrumentation for biomedical applications |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 2 | 18 |  |  |  |  | 20 |
| CO2 | 2 | 17 | 15 |  |  |  | 34 |
| CO3 | 3 | 7 | 6 |  |  |  | 16 |
| CO4 | 2 | 16 | 12 |  |  |  | 30 |
| CO5 |  |  | 12 |  |  |  | 12 |
| CO6 |  |  | 12 |  |  |  | 12 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2016 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # SIGNALS AND SYSTEMS FOR BIOMEDICAL ENGINEERS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | State the condition for an even signal. | CO1 | U | 1 |
| 2. | Time shifting can also be called as ____________. | CO1 | R | 1 |
| 3. | State the first Dirichlet condition of Fourier Series Expansion. | CO2 | R | 1 |
| 4. | How is the frequency response of a filter represented as? | CO2 | R | 1 |
| 5. | State the transform applied for non-stationary signals. | CO3 | U | 1 |
| 6. | What is the use of Gabor Transform? | CO3 | R | 1 |
| 7. | State the way to find the number of poles in Laplace Transform. | CO4 | U | 1 |
| 8. | Give substantiation for scaling property in Laplace Transforms. | CO4 | R | 1 |
| 9. | How is Z transform related to Laplace Transform? | CO5 | U | 1 |
| 10. | State the Z transform of a unit impulse function | CO5 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Differentiate causal and anti-causal signals. | CO1 | R | 3 |
| 12. | List the conditions for the existence of Fourier Series | CO2 | U | 3 |
| 13. | List the various Joint Time Frequency Analysis algorithms. | CO3 | R | 3 |
| 14. | Define poles and zeros. Give representation. | CO4 | U | 3 |
| 15. | Define Z Transform. What are its applications? | CO5 | R | 3 |
| 16. | List the properties of Non Linear Systems. | CO6 | R | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Define various types of standard functions with relevant illustrative examples. | CO1 | R | 6 |
|  | b. | Explain briefly about any three types of classifications of systems. | CO1 | R | 6 |
| 18. | a. | Find the Fourier Series for the periodic signal x(t) shown below . | CO2 | E | 10 |
|  | b. | Substantiate with proper formulae for expanding a periodic signal. | CO2 | A | 2 |

| 19. | a. | Explain the short term Fourier transform with proper substantiation. | CO3 | U | 6 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Illustrate and explain how joint time-frequency analysis is applied to heart sounds to detect valve pathologies inside the heart | CO3 | An | 6 |
| 20. | a. | Find the Laplace Transform of the function xt= t2e-2tu(t) | CO4 | E | 6 |
|  | b. | Find inverse Laplace Transform of the function Xs= =ss2+5s+6 | CO4 | E | 6 |
| 21. | a. | Using long division , determine the inverse Z transform of the function Xz=1+2z-11-2z-1+z-2 | CO5 | E | 8 |
|  | b. | State the properties of region of convergence in Z Transform. | CO5 | U | 4 |
| 22. | a. | Find the Fourier Transform of the following and sketch the magnitude and phase spectrum xt=e-atu(t) | CO2 | E | 10 |
|  | b. | List the conditions for the existence of Fourier Transform | CO2 | R | 2 |
| 23. | a. | Compute the exponential Fourier series of the following signal | CO2 | E | 8 |
|  | b. | Compute the Laplace Transform of the function x(t) = cos Ω0t | CO4 | E | 4 |
|  |  | Compulsory: |  |  |  |
| 24. |  | Discuss about any one of the Physical Factors Determining the Dynamic Behavior of Physiological Signal. | CO6 | An | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Identify the nature of biomedical signals |
| CO2 | Analyze the spectral characteristics of continuous-time periodic and aperiodic signals using Fourier analysis. |
| CO3 | Classify systems based on their properties and determine the response of LTI system using Laplace transform. |
| CO4 | Apply Laplace transform and Z- transform to analyze continuous-time and discrete-time signals and systems |
| CO5 | Analyze system properties based on impulse response by FIR, IIR filtering techniques. |
| CO6 | Demonstrate mathematical tools in characterization of physiological system. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 16 | 1 | - | - | - | - | 17 |
| CO2 | 4 | 3 | 2 | - | 28 | - | 37 |
| CO3 | 4 | 7 | - | 6 | - | - | 17 |
| CO4 | 1 | 4 | - | - | 16 | - | 21 |
| CO5 | 4 | 5 | - | - | 8 | - | 17 |
| CO6 | 3 | - | - | 12 | - | - | 15 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2020 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # SIGNAL CONDITIONING CIRCUITS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | __________ make a transfer from the ionic conduction in the tissue to the electronic conduction. | CO1 | R | 1 |
| 2. | The ratio of the concentrations of specific ion on the two sides of the membrane is __________ potential. | CO1 | R | 1 |
| 3. | Give the name of the terminal with a (-) sign in an operational amplifier is called __________. | CO2 | U | 1 |
| 4. | The biological amplifier should have a high input __________ value. | CO2 | U | 1 |
| 5. | Identify the order of the filter which has one resistor and one capacitor. | CO3 | R | 1 |
| 6. | Find the cut off frequency of RC low pass filter of R = 8.2 ohm and C=0.0033µF. | CO3 | E | 1 |
| 7. | Name the type of multi vibrator that has NO stable states but switches continuously between two states. | CO4 | R | 1 |
| 8. | Calculate the possible output values of 8-bit ADC. | CO4 | A | 1 |
| 9. | List the example of harmonic oscillators. | CO5 | R | 1 |
| 10. | Define biomedical instrumentation system. | CO6 | U | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Write the significance of bio amplifier and signal conditioning circuits in biopotentials measurement. | CO1 | R | 3 |
| 12. | What are the ideal characteristics of an operational amplifier? | CO2 | U | 3 |
| 13. | Differentiate active and passive filter. | CO3 | U | 3 |
| 14. | What is sampling theorem? | CO4 | R | 3 |
| 15. | Define Phase Locked Loop. | CO5 | U | 3 |
| 16. | Summarize the use of safety standards in biopotential measurement. | CO6 | R | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Explain in detail about different stages of nerve action potential. | CO1 | R | 6 |
|  | b. | Illustrate the function of recording electrodes and highlight the importance of electrode skin interface. | CO1 | U | 6 |
| 18. | a. | Describe the working principle of an inverting and inverting operational amplifier with neat sketch. | CO2 | U | 8 |
|  | b. | Write short notes on transimpedance amplifier. | CO2 | R | 4 |
| 19. | a. | Design a non-inverting active low pass filter circuit that has a gain of ten at low frequencies, a high frequency cut-off or corner frequency of 159Hz and an input impedance of 10KΩ. | CO3 | C | 8 |
|  | b. | Draw the circuit diagram of an instrumentation amplifier. | CO3 | R | 4 |
| 20. | a. | Explain in detail about the circuit configuration and working of 555 timers with neat sketch. | CO4 | A | 10 |
|  | b. | Draw the circuit diagram of non-inverting comparator. | CO4 | U | 2 |
| 21. | a. | Describe the functions of voltage-controlled oscillators. | CO5 | U | 8 |
|  | b. | Differentiate analog and digital phase detectors. | CO5 | R | 4 |
| 22. | a. | Illustrate the structure and operation of counter type of analog to digital converter. | CO5 | U | 6 |
|  | b. | Explain in detail about weighted resistor DAC. | CO5 | U | 6 |
| 23. | a. | Draw the circuit configuration of an Integrator and obtain its output voltage expression. | CO2 | U | 10 |
|  | b. | What is differentiator? | CO2 | R | 2 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | Explain in detail about the various components involved in advanced medical instrumentation systems. | CO6 | A | 7 |
|  | b. | Summarize the advantages of safety standards in bio potential measurement. | CO6 | U | 5 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Identify the origin and characteristics of various biosignals and its acquisition. |
| CO2 | Apply the signal conditioning circuits for biomedical field. |
| CO3 | Analyze and deign bio filters and isolation circuits used in medical signal conditioning. |
| CO4 | Interface the bioelectric signals with analog and digital circuits for data acquisition |
| CO5 | Create the various circuits for designing medical equipment’s using different ICs |
| CO6 | Recommend the various safety standards in biomedical instrumentation. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 11 | 6 | - | - | - | - | 17 |
| CO2 | 6 | 23 | - | - | - |  | 29 |
| CO3 | 5 | 3 | - | - | 1 | 8 | 17 |
| CO4 | 4 | 2 | 11 | - | - |  | 17 |
| CO5 | 7 | 21 | - | - | - | - | 28 |
| CO6 | 3 | 6 | 7 | - | - | - | 16 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2022 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # CONTROL SYSTEM FOR BIOMEDICAL ENGINEERS | # Max. Marks : | # 100 |

(Ordinary graph sheet, Polar graph sheet, Semi log graph sheet to be provided)

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | List the characteristics of negative feedback. | CO1 | U | 1 |
| 2. | Define transfer function. | CO1 | R | 1 |
| 3. | Name the test signals used in control system. | CO2 | R | 1 |
| 4. | Sketch the response of a second order underdamped system. | CO2 | U | 1 |
| 5. | Give the frequency domain specifications. | CO3 | R | 1 |
| 6. | Define cut off rate. | CO3 | R | 1 |
| 7. | Write the formula to calculate the angle of asymptotes. | CO4 | R | 1 |
| 8. | Define BIBO stability. | CO4 | R | 1 |
| 9. | State Starling’s law. | CO5 | R | 1 |
| 10. | Mention superposition principle. | CO5 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Write the force balance equation of ideal mass element. | CO1 | R | 3 |
| 12. | A unity feedback system has a open loop transfer function of G(s) = 10/(s+1)(s+2). Determine the steady state error for unit step input. | CO2 | U | 3 |
| 13. | State the advantages of Bode Plot. | CO3 | R | 3 |
| 14. | State Nyquist Stability criterion. | CO4 | R | 3 |
| 15. | Differentiate between lumped and distributed model parameters. | CO5 | AN | 3 |
| 16. | Draw the block diagram of the muscle stretch reflex. | CO6 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. |  | Use Mason’s gain formula for determining the overall transfer function of the system show in Fig. | CO1 | A | 12 |
| 18. |  | Derive the response of first order system and analyze the system when the input is unit step. | CO2 | A | 12 |

| 19. |  | The open loop transfer function of a unity feedback system is given by G(s) = 1/s2(1+s)(1+2s). Sketch the polar plot and determine the gain margin and phase margin. | CO3 | A | 12 |
| --- | --- | --- | --- | --- | --- |
| 20. |  | The characteristic polynomial of a system is s 6+ 2s5+ 8s4+ 12s3+ 20s2+ 16s + 16 = 0. Determine the location of roots on the s-plane and hence the stability of the system. | CO4 | AN | 12 |
| 21. |  | Differentiate between engineering and physiological control systems with suitable examples. | CO5 | U | 12 |
| 22. |  | Obtain the response of unity feedback system whose open loop transfer function is G(s) = 4/s(s+5) and when the input is unit step. | CO2 | A | 12 |
| 23. |  | A unity feedback control system has an open loop transfer function G(s) = K/s(s2 + 4s +13). Sketch the root locus. | CO4 | A | 12 |
|  |  | Compulsory: |  |  |  |
| 24. |  | Analyze physiological control system representation for muscle reflex. | CO6 | U | 12 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2023 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # IMAGE PROCESSING FOR MEDICAL APPLICATIONS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Which filter highlights gray-level discontinuities in an image? | CO2 | U | 1 |
| 2. | Digitizing the amplitude values is called as______. | CO2 | R | 1 |
| 3. | The region where the cones are active is called as________. | CO1 | R | 1 |
| 4. | The points of 4-neighbors and diagonal neighbors together are called ________ | CO1 | U | 1 |
| 5. | Other name of uncorrelated noise is______ | CO3 | R | 1 |
| 6. | Which filter is the best-known order statistics filter? | CO3 | An | 1 |
| 7. | Method used to connect the disjoined edge points are called _______. | CO4 | U | 1 |
| 8. | List out the three phases of Sub band Coding. | CO5 | R | 1 |
| 9. | Which coding method separates the source output into bands of different frequency? | CO5 | U | 1 |
| 10. | Isolated noisy pixel can be removed by _________. | CO4 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Write short notes on connectivity between pixels. | CO1 | U | 3 |
| 12. | Comment briefly on the various color models available for image processing. | CO2 | U | 3 |
| 13. | Describe the order statistic filter in detail. | CO3 | U | 3 |
| 14. | Define structuring element. | CO4 | R | 3 |
| 15. | Differentiate between lossy and lossless compression. | CO5 | An | 3 |
| 16. | Illustrate the process of boundary representation. | CO6 | A | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. |  | Summarize the basic steps in processing the digital image with neat block diagram. | CO1 | U | 12 |
| 18. |  | With example, explain the process of smoothing filtering in digital images. | CO2 | C | 12 |

| 19. |  | Describe the following filters in detail. i) Band Pass Filter ii) Band Reject Filter iii) Notch Filter | CO3 | U | 12 |
| --- | --- | --- | --- | --- | --- |
| 20. |  | How will you detect the (a) points, (b) lines and (c) edges using various masks in digital images? | CO4 | An | 12 |
| 21. |  | Illustrate the difference between lossless predictive coding and lossy predictive coding. | CO5 | A | 12 |
| 22. |  | Illustrate the need for image compression with an example. | CO5 | An | 12 |
| 23. |  | Explain the Structure of the Human Eye with a neat diagram. | CO1 | U | 12 |
|  |  | Compulsory: |  |  |  |
| 24. |  | Comment briefly on the various boundary descriptors used in digital image processing techniques. | CO6 | R | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Describe the digital image fundamentals for a given condition |
| CO2 | Illustrate the effect of image enhancement techniques on images |
| CO3 | Distinguish between image restoration filters |
| CO4 | Discuss about the image segmentation procedure |
| CO5 | Compute the level of compression achieved for the given image data |
| CO6 | Explain and compute features useful for image representation and recognition |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 1 | 28 | - | - | - | - | 29 |
| CO2 | 1 | 4 | - | - | - | 12 | 17 |
| CO3 | 1 | 15 | - | 1 | - | - | 17 |
| CO4 | 4 | 1 | - | 12 | - | - | 17 |
| CO5 | 1 | 1 | 12 | 15 | - | - | 29 |
| CO6 | 12 | - | 3 | - | - | - | 15 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2025 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # EMBEDDED SYSTEMS FOR BIOMEDICAL APPLICATIONS | # Max. Marks : | # 100 |

| Q. No. | Questions |  | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- | --- |
|  |  | PART – A (10 X 1 = 10 MARKS) |  |  |  |
| 1. | Burning issue in the digital world is _______. |  | CO1 | U | 1 |
| 2. | The manner in which we convert the concept of desired system functionality into an implementation is_________. |  | CO1 | R | 1 |
| 3. | Which network is used for TCP/IP Protocol? |  | CO2 | R | 1 |
| 4. | A software tool used to convert high level language into machine language is_________. |  | CO2 | R | 1 |
| 5. | A device which converts physical parameter to electrical signal is? |  | CO4 | U | 1 |
| 6. | Cut off voltage of commonly used LED is_______. |  | CO3 | R | 1 |
| 7. | Which is an essential component of microcomputer system? |  | CO4 | U | 1 |
| 8. | Which State machine has finite number of states? |  | CO5 | R | 1 |
| 9. | What does OOP stand for? |  | CO5 | U | 1 |
| 10. | Basic building block of software is ______. |  | CO4 | U | 1 |

|  |  | PART – B (6 X 3 = 18 MARKS) |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 11. | Explain the characteristics of Embedded Systems. |  | CO1 | An | 3 |
| 12. | Differentiate between compiler and assembler. |  | CO2 | U | 3 |
| 13. | What is the need for IDE in an Embedded Architecture? Discuss. |  | CO3 | An | 3 |
| 14. | Explain in detail about Java Development tools. |  | CO4 | U | 3 |
| 15. | Describe the various services of operating system. |  | CO5 | An | 3 |
| 16. | Write short notes on scheduler. |  | CO5 | U | 3 |

|  |  | PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 17. | a. |  | With a neat diagram, elucidate the embedded hardware units and devices in a system. | CO1 | U | 12 |
| 18. | a. |  | Analyze the design process of Embedded system with an example. | CO2 | C | 12 |
| 19. | a. |  | Describe the following (i) Keypad Interfacing (ii) Seven Segment Display Interfacing. | CO3 | U | 12 |
| 20. | a. |  | Elaborate on different elements of c program. | CO4 | R | 9 |
|  | b. |  | What are the factors to be considered for selecting the programming language in embedded system? | CO4 | U | 3 |
| 21. | a. |  | Comment briefly on the switch interface related to embedded systems. | CO5 | U | 12 |
| 22. | a. |  | Write short notes on Embedded Operating Systems. | CO5 | U | 6 |
|  | b. |  | Describe the various functions of RTOS. | CO5 | U | 6 |
| 23. | a. |  | Explain about patient monitoring system in real time with neat diagram. | CO6 | C | 12 |
|  | Compulsory: |  |  |  |  |  |
| 24. | a. |  | With neat sketches, explain about wireless sensor technologies. | CO6 | C | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Discuss the basics of embedded systems and its hardware units |
| CO2 | Identify the various tools and development process of embedded system |
| CO3 | Demonstrate the various I/O interfacing with microcontroller |
| CO4 | Create the programming for embedded system design |
| CO5 | Summarize the real time models, languages and operating systems |
| CO6 | Design a real time embedded system for biomedical applications |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 1 | 13 | - | 3 | - | - | 17 |
| CO2 | 2 | 3 | - | - | - | 12 | 17 |
| CO3 | 1 | 12 | - | 3 | - | - | 16 |
| CO4 | 9 | 9 | - | - | - | - | 18 |
| CO5 | 1 | 28 | - | 3 | - | - | 32 |
| CO6 | - | - | - | - | - | 24 | 24 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2028 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL IMAGING TECHNIQUES | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Substantiate Larmor Frequency with suitable equation in Quantum Mechanical description. | CO4 | A | 1 |
| 2. | List the two types of relaxation techniques while the elementary particles return to dynamic equilibrium. | CO2 | R | 1 |
| 3. | Substantiate Snell’s Law. | CO2 | U | 1 |
| 4. | Visible light has a wavelength in the range of ____________. | CO1 | R | 1 |
| 5. | State the condition for a photon to induce ionization. | CO1 | U | 1 |
| 6. | Phosphorescence is a phenomena used to detect X rays with ___________. | CO3 | R | 1 |
| 7. | The ____________ coefficient depends on the composition of the material, the density of the material and the photon energy. | CO2 | R | 1 |
| 8. | State the Hounsfield unit of water. | CO2 | R | 1 |
| 9. | State the major use of beam shaping filters in Computed Tomography. | CO1 | R | 1 |
| 10. | State the radioactive decay mode for PET scans. | CO2 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Briefly discuss the various types of interactions of photons with matter. | CO1 | R | 3 |
| 12. | Define the principle behind Computed Tomography. | CO2 | U | 3 |
| 13. | List out differences between spin echo pulse sequence and gradient echo pulse sequence. | CO3 | R | 3 |
| 14. | Define Doppler Effect with example. | CO2 | U | 3 |
| 15. | Define positron decay with suitable equation. | CO1 | U | 3 |
| 16. | State the concept of Optical Coherence Tomography. | CO5 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Illustrate and discuss briefly about the characteristics of an X ray source with substantiation. | CO1 | U | 6 |
|  | b. | Explain briefly about the two types of detectors for digital radiography | CO3 | An | 6 |

| 18. | a. | Discuss briefly the principles involved in Computed Tomography with proper illustration and substantiation. | CO2 | A | 6 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Discuss briefly about the filtered back projection reconstruction technique. | CO3 | An | 6 |
| 19. | a. | Discuss in brief about the various spin relaxation techniques with proper substantiation. | CO2 | An | 8 |
|  | b. | Explain in brief about the spin echo pulse sequence and gradient echo pulse sequence. | CO1 | U | 4 |
| 20. | a. | Derive the Acoustic Intensity and Loudness for a wave propagating in homogenous media in relation to generation of Ultrasonic waves. | CO2 | An | 8 |
|  | b. | Define Huygen’s Principle and explain with necessary illustration. | CO2 | U | 4 |
| 21. | a. | Describe in brief about the various modes of radioactive decay. | CO4 | An | 6 |
|  | b. | Explain the iterative reconstruction method in Single Photon Emission Computed Tomography (SPECT) | CO3 | A | 6 |
| 22. | a. | Discuss in brief about the classical and quantum mechanical theory with substantiation and illustration | CO1 | A | 8 |
|  | b. | List the steps for image reconstruction in grey scale imaging using ultrasound waves. | CO2 | A | 4 |
| 23. |  | Discuss briefly about data acquisition and image reconstruction in Doppler imaging with proper substantiation and illustrations. | CO2 | A | 12 |
|  |  | Compulsory: |  |  |  |
| 24. |  | Discuss about the Picture Archiving and Communication Systems (PACS) in medical imaging. | CO6 | An | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | List out the various medical imaging techniques |
| CO2 | Explain the principle of specific medical imaging techniques. |
| CO3 | Interpret the imaging outputs |
| CO4 | Identify the suitable medical imaging techniques for specific pathology |
| CO5 | Devise new ideas to solve certain issues in medical imaging |
| CO6 | Justify the impact of medical imaging system for diagnosis. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 5 | 14 | 8 | - | - | - | 27 |
| CO2 | 4 | 11 | 22 | 16 | - | - | 53 |
| CO3 | 4 | - | 6 | 5 | - | - | 22 |
| CO4 | - | - | 1 | 6 | - | - | 7 |
| CO5 | - | 3 | - | - | - | - | 3 |
| CO6 | - | - | - | 12 | - | - | 12 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 19BM2031 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MEDICAL INTERNET OF THINGS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | __________ is a set of internationally recognized, non-proprietary standards for networking and for operating system involved in networking functions. | CO1 | P | 1 |
| 2. | __________ is the set of rules that govern data communication. | CO2 | P | 1 |
| 3. | List the types of network in Bluetooth. | CO3 | P | 1 |
| 4. | __________ is the amount of time an IP address is assigned to a computer in DHCP server. | CO3 | P | 1 |
| 5. | PaaS means __________. | CO4 | P | 1 |
| 6. | If all the bits are 1 in an addressing block then it is a __________ address | CO4 | P | 1 |
| 7. | What is the full form of IDE in Arduino IDE IoT software? | CO5 | P | 1 |
| 8. | Which programming language is used by Arduino IDE IoT software for writing codes? | CO5 | P | 1 |
| 9. | __________ is a fundamental component of an IoT system. | CO6 | P | 1 |
| 10. | IPV4 supports __________ addresses. | CO6 | P | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Draw the structure of OSI model. | CO1 | P | 3 |
| 12. | Mention the significance of Cloud computing in Internet of Things. | CO2 | P | 3 |
| 13. | List the five layers of IoT ecosystem. | CO3 | P | 3 |
| 14. | Comprehend on the functions of IoT Proxy and IoT gateway. | CO4 | P | 3 |
| 15. | How is body area network significant in Medical IoT? | CO5 | P | 3 |
| 16. | Discuss the DORA process in DHCP addressing. | CO6 | P | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | List down the components of IoT hardware platform and explain about them in detail. | CO1 | P | 8 |
|  | b. | Discuss about the issues that are important for IoT standardization. | CO1 | P | 4 |
| 18. | a. | Briefly explain about Dynamic Host Configuration Protocol. | CO2 | P | 8 |
|  | b. | Mention the challenges of IoT. | CO2 | P | 4 |

| 19. | a. | Elaborate on the terminology Everything as a Service (XaaS). | CO2 | P | 8 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Comprehend on the two types of Private Cloud. | CO2 | P | 4 |
| 20. | a. | Describe in detail about the different types of actuators and discuss its advantages and disadvantages. | CO3 | P | 8 |
|  | b. | Mention the functions of software in IoT. | CO3 | P | 4 |
| 21. | a. | IEEE 802.3 – is a protocol for Wired LAN networks: Discuss about its generations, types and frame format. | CO3 | P | 8 |
|  | b. | Define the type of the following destination addresses: a. 4A:30:10:21:10:1A b. 47:20:1B:2E:08:EE c. FF:FF:FF:FF:FF:FF | CO4 | P | 4 |
| 22. | a. | Zigbee a short range communication protocol has different types of devices. Explain about them in detail and the characteristics of the standard. | CO4 | P | 8 |
|  | b. | Draw the fame format of Zigbee. | CO5 | P | 4 |
| 23. | a. | With neat diagram explain the architecture of Arduino. | CO5 | P | 8 |
|  | b. | Give the structure of program in Arduino. | CO5 | P | 4 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | e-health – Elaborate on the terminology and discuss one case study. | CO6 | P | 8 |
|  | b. | Mention the challenges of IoT in healthcare. | CO6 | P | 4 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Understand internet of Things and its hardware and software components |
| CO2 | Interface I/O devices, sensors & communication modules |
| CO3 | Remotely monitor data and control devices |
| CO4 | Develop understanding of data analytics and supporting devices |
| CO5 | Discuss about Case studies on IoT applications in health care |
| CO6 | Develop real life IoT based medical applications |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 1 | 3 | 8 | 4 | - | - | 16 |
| CO2 | 1 | 3 | 16 | 8 | - | - | 28 |
| CO3 | 2 | 11 | 12 | - | - | - | 25 |
| CO4 | 8 | 3 | 6 | - | - | - | 17 |
| CO5 | 4 | 5 | = | 8 | 4 | - | 21 |
| CO6 | 3 | 5 | 9 | - | - | - | 17 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – April / May – 2022

| # Code : | # 20BM2002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # BIOCHEMISTRY FOR BIOMEDICAL ENGINEERS | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Show the Haworth projection of glucose structure. | CO1 | U | 1 |
| 2. | Why the fructose is non-reducing sugar? | CO1 | R | 1 |
| 3. | Which enzyme synthesizes essential fatty acids in plants? | CO1 | R | 1 |
| 4. | Mark the site of β-oxidation of fatty acids in a cell. | CO1 | E | 1 |
| 5. | Name one negatively charged amino acid. | CO1 | R | 1 |
| 6. | Recall the inborn error enzyme of phenylketonuria. | CO5 | R | 1 |
| 7. | Give an example for the purine nucleotide triphosphate. | CO2 | R | 1 |
| 8. | Assess and name the organ where purine biosynthesis happens. | CO2 | E | 1 |
| 9. | Compare the roles of Vitamin K and E in blood coagulation. | CO3 | An | 1 |
| 10. | Which Vitamin is named as yellow enzyme? | CO3 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Appraise the significance of pentose phosphate pathway. | CO1 | E | 3 |
| 12. | Justify the fact that saturated fatty acids are solids with high MP. | CO1 | E | 3 |
| 13. | Contrast the conformations of myoglobin and hemoglobin. | CO1 | An | 3 |
| 14. | Recall the Chargaff’s rules for the composition of DNA. | CO2 | R | 3 |
| 15. | Compare and contrast the anti-oxidant role of Vitamin E and C. | CO3 | An | 3 |
| 16. | List out the cationic macroelements of biological significance. | CO3 | An | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. | a. | Compare proteoglycan and glycoprotein with an example. | CO6 | An | 6 |
|  | b. | List the mucopolysaccharides and give their functions. | CO6 | An | 6 |
| 18. | a. | Analyze the properties and functions of cholesterol. | CO1 | An | 6 |
|  | b. | Analyze the chemical properties of fats. | CO1 | An | 6 |
| 19. | a. | List out the functions of proteins with examples for each. | CO1 | An | 10 |
|  | b. | Analyze the relation of alanine cycle with urea cycle. | CO1 | An | 2 |
| 20. | a. | Sketch the structures of one DNA and RNA nucleotide | CO2 | R | 6 |
|  | b. | List out the properties and functions of nucleotides. | CO2 | R | 6 |

| 21. | a. | Relate the functions of Vitamin C to its deficiency diseases. | CO6 | U | 6 |
| --- | --- | --- | --- | --- | --- |
|  | b. | Infer the functions and deficiency symptoms of Vitamin B2 | CO6 | U | 6 |
| 22. | a. | Create a mind map for the metabolism of nucleic acid along with the enzymes associated with inborn errors. | CO6 | C | 6 |
|  | b. | Discuss about the inborn errors of nucleic acid metabolism. | CO6 | C | 6 |
| 23. |  | Assess the significant functions of fat soluble Vitamins. | CO3 | E | 12 |
|  |  | Compulsory: |  |  |  |
| 24. | a. | Classify the minerals and list out their specific functions. | CO5 | An | 8 |
|  | b. | Survey the impact of Vitamin and mineral supplementation. | CO4 | A | 4 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Acquire knowledge on structure, properties and biological functions of carbohydrates, lipids and proteins which help them to understand the significance of biomolecules in bioprocesses and biotechnology |
| CO2 | Acquire knowledge on nucleic acids structure, properties and functions of nucleic acids |
| CO3 | Assess the significance of Vitamins and mineral functions |
| CO4 | Help them to analyze industrial-market value of these biomolecules and relate them with the scope of biotechnology |
| CO5 | Justify the clinical and biological significance of these biomolecules |
| CO6 | Understand the complexes of different biomolecules and their biomedical significance |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 3 | 1 | - | 27 | 7 | - | 38 |
| CO2 | 16 | - | - | - | 1 | - | 17 |
| CO3 | 1 | - | - | 7 | 12 | - | 20 |
| CO4 | - | - | 4 | - | - | - | 4 |
| CO5 | 1 | - | - | 8 | - | - | 9 |
| CO6 | - | 12 | - | 12 | - | 12 | 36 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – May / June – 2022

| # Code : | # 20BM2009 / 19BM1002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # INTRODUCTION TO BIOMEDICAL ENGINEERING | # Max. Marks : | # 100 |

| Q. No. | Questions | Course Outcome | Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (10 X 1 = 10 MARKS) |  |  |  |  |
| 1. | Measurement of PCO2 and PO2 are categorized as ___________ signal measurement. | .CO1 | U | 1 |
| 2. | The prime attribute of medical professionals is _________. | CO1 | R | 1 |
| 3. | Expand: AIMBE. | CO2 | R | 1 |
| 4. | Mention the need of nebulizer in ventilator machine. | CO3 | U | 1 |
| 5. | __________ electrode is the refence electrode in ECG acquisition. | CO4 | U | 1 |
| 6. | __________ is degree of closeness. | CO5 | R | 1 |
| 7. | PET stands for ___________. | CO6 | R | 1 |
| 8. | Mention the need of ultrasound scanners. | CO4 | U | 1 |
| 9. | James Wilson in 1999 was caught in patient ethical lapse case was a __________ therapy researcher working in OTC deficiency domain. | CO5 | R | 1 |
| 10. | Code of ethics for biomedical engineering combines both__________ and engineering fields. | CO6 | R | 1 |

| PART – B (6 X 3 = 18 MARKS) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 11. | Mention some professional societies for biomedical engineers. | CO1 | R | 3 |
| 12. | Compare biochemical and biomechanical signals. | CO2 | An | 3 |
| 13. | List various uses of MRI scan. | CO3 | U | 3 |
| 14. | Give the significance of brain waves. | CO4 | U | 3 |
| 15. | Justify the importance for medical ethics | CO5 | An | 3 |
| 16. | State the significance of medical regulatory affairs. | CO6 | U | 3 |

| PART – C (6 X 12 = 72 MARKS) (Answer any five Questions from Q.no 17 to 23) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 17. |  | Articulate the evolution of modern healthcare system. | CO1 | U | 12 |
| 18. |  | Enlist and elaborate various sources of biomedical signals. | CO2 | U | 6 |
|  |  | Enlist various roles of biomedical engineers in various domain. | CO2 | U | 6 |

| 19. |  | Illustrate the clinical working procedure of X ray machine with a neat sketch. | CO3 | U | 12 |
| --- | --- | --- | --- | --- | --- |
| 20. | a. | Sketch a defibrillator circuit and describe the working principle in detail. | CO4 | U | 8 |
|  | b. | Enumerate the difference between external and internal pacemaker. | CO4 | An | 4 |
| 21. | a. | Sketch an anesthesia machine. | CO3 | R | 4 |
|  | b. | Explain the working principle of hemodialysis machine. | CO3 | U | 8 |
| 22. |  | Illustrate the clinical functioning of MRI machine. | CO4 | U | 12 |
| 23. |  | Summarize the main good laboratory and good manufacturing practices followed in clinical domain. | CO5 | U | 12 |
|  |  | Compulsory: |  |  |  |
| 24. |  | What constitutes a human experiment? Under what conditions are they permitted? What safeguards should hospitals have in place? | CO6 | An | 12 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Interpret the role of biomedical engineering in society |
| CO2 | Demonstrate the principles of various diagnostic devices. |
| CO3 | Identify the various techniques used in diagnosis though imaging. |
| CO4 | Describe the working principles of various therapeutic and assist devices. |
| CO5 | Understand device specific safety goals and standards. |
| CO6 | Illustrate the concepts of ethical theories and moral principles for the health professions. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 4 | 13 | - | - | - | - | 17 |
| CO2 | 1 | 12 | - | 3 | - | - | 16 |
| CO3 | 4 | 24 | - | - | - | - | 28 |
| CO4 | - | 25 | - | 4 | - | - | 29 |
| CO5 | 2 | 12 | - | 3 | - | - | 17 |
| CO6 | 2 | 3 | - | 12 | - | - | 17 |
|  |  |  |  |  |  |  | 124 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3002 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name: | # ADVANCED BIOMEDICAL SIGNAL PROCESSING | # Max. Marks: | # 100 |

ANSWER ALL QUESTIONS (5 X 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the need for sampling and the conditions for avoiding aliasing | CO1 / R | 10 |
|  | b. | Perform convolution of the two sequences, x(n)= {1,1,2,1}; h(n)={2,3,1,1} | CO2 / E | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the biomedical signal analysis using a block diagram with its objectives. | CO2 / R | 10 |
|  | b. | Discuss the nature of biomedical signals with suitable diagrams. | CO2 / U | 10 |
| 3. | a. | Design a Butterworth digital IIR highpass filter using bilinear transformation by taking T =0.1 second, to satisfy the following specifications. Draw direct form I structure of the filter. | CO3 / A | 10 |
|  | b. | Explain about EEG and Event Related Potentials | CO3 / U | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Explain about the Wiener Filtering Problem. Also derive the expression for finding the optimal weight vector and estimated error | CO3 / An | 10 |
|  | b | Write short notes on time domain filtering. | CO4 / R | 10 |
| 5. | a. | Discuss the adaptive noise cancellation with a block diagram. | CO4 / U | 10 |
|  | b. | Illustrate the cancellation of maternal ECG from Fetal ECG. | CO4 / An | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain High Speed QRS detection Algorithm. | CO4 / U | 15 |
|  | b. | Explain about random noise, structured noise and physiological interference in bio signals perspective. | CO3 / A | 5 |
| 7. |  | An 8-point sequence is given by Compute 8-point DFT of x(n) by radix-2 DIT-FFT method | CO1 / An | 20 |
| (OR) |  |  |  |  |
| 8. | a. | Construct the Template Matching technique in ECG QRS Detection. | CO5 / C | 10 |
|  | b. | Demonstrate the estimation of ST segment inclination. | CO5 / A | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Categorize the adaptive segmentation of EEG and PCG signals. | CO6 / An | 10 |
|  | b. | Discuss the analysis of Ectopic beats using Pan-Tompkins Algorithm. | CO6 / U | 10 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Summarize the basic concepts of digital signal processing techniques. |
| CO2 | Identify the nature of biomedical signals. |
| CO3 | Apply the Filtering Techniques. |
| CO4 | Analyze the Noise Cancellation Techniques for Biosignals. |
| CO5 | Understand various Techniques for Detection of Events. |
| CO6 | Develop systems for Biosignal Acquisition and Analysis |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 10 | - |  | 20 | - | - | 30 |
| CO2 | 10 | 10 |  |  | 10 |  | 30 |
| CO3 |  | 10 | 15 | 10 | - | - | 35 |
| CO4 | 10 | 10 |  | 10 |  |  | 30 |
| CO5 |  | 15 |  | 10 | - | 10 | 35 |
| CO6 |  | 10 |  | 10 | - | - | 20 |
|  |  |  |  |  |  |  | 180 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3004 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # ADVANCED HEALTHCARE SYSTEM DESIGN | # Max. Marks : | # 100 |

| Q. No. |  | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (5 X 16 = 80 MARKS) (Answer any five from the following) |  |  |  |  |
| 1. |  | Analyze how mobile health is changing care delivery. | CO1 / An | 16 |
| 2. |  | Summarize the applications of telemedicine. | CO5 / A | 16 |
| 3. |  | Explain the basic principles to be followed for evaluation of informed consent. | CO5 / U | 16 |
| 4. |  | Elaborate on the barriers to innovation of medical devices. | CO6 / A | 16 |
| 5. |  | Analyze the medical reporting technique using speech recognition. | CO3 / An | 16 |
| 6. |  | Highlight the features of Multimodality registration in daily clinical practice. | CO4 / U | 16 |
| 7. |  | Summarize the applications of Machine learning in Health Care Applications. | CO2 / A | 16 |
| PART – B (1 X 20 = 20 MARKS) (Compulsory Question) |  |  |  |  |
| 8. |  | Portray the detailsrelated to design of medical equipments based on user needs. | CO6 / A | 20 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Identify the available technology for wearable healthcare devices |
| CO2 | Interpret the need for digital methods of handling medical records |
| CO3 | Modify the tools and methods for work flow |
| CO4 | Compare various standards for inter-operability of devices |
| CO5 | Decide quality and safety standards for developing healthcare systems |
| CO6 | Formulate advanced strategies for innovation to societal needs. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | - |  |  | 16 | - | - | 16 |
| CO2 |  |  |  |  |  |  |  |
| CO3 | - |  |  | 16 | - | - | 16 |
| CO4 | - | 16 |  | - |  |  | 16 |
| CO5 | - | 16 | 32 | - | - | - | 48 |
| CO6 | - |  | 36 | - | - | - | 36 |
|  |  |  |  |  |  |  | 132 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3005 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # EMBEDDED SYSTEM AND PROGRAMMING | # Max. Marks : | # 100 |

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A(5 X 16= 80 MARKS) (Answer any five from the following) |  |  |  |  |
| 1. | a. | Elaborate on various design process and metrics that is to be optimized in an embedded system design. | CO 1/ U | 12 |
|  | b. | Classify the different types of embedded systems. | CO 1/R | 4 |
| 2. | a. | Differentiate host and target machine in an embedded system. | CO 2/U | 6 |
|  | b. | Describe the various steps involved for the conversion of assembly code into machine implementable code. | CO 2/ U | 10 |
| 3. |  | Elaborate on various key elements of an embedded C programming for system design with an example. | CO 3/ U | 16 |
| 4. | a. | Comment briefly on the following interface related to embedded systems. - Switch Interface - LED Interface | CO 4/ E | 12 |
|  | b. | Describe the techniques for Keypadinterfacing with necessary diagram. | CO 4/ C | 4 |
| 5. | a. | What is Kernel? Discuss how Priority Inversion problem is handled by Real time kernel in RTOS. | CO 5 /An | 12 |
|  | b. | Identify the significance of state machine and state table in embedded system design. | CO 5 / R | 4 |
| 6. | a. | With neat sketch, illustrate the different methods of handling interrupt services in RTOS environment. | CO 5/ U | 12 |
|  | b. | List the various services provided by operating system. | CO 5/ U | 4 |
| 7. |  | Design a real time system to display the numerical numbers in seven segment display unit with necessary hardware and software architecture. | CO 4/ C | 16 |
| PART – B (1 X 20 = 20 MARKS) (Compulsory Question) |  |  |  |  |
| 8. | a. | Design an embedded system to measure the heart rate of the patient. Select any known embedded processor of your interest. Support your hardware design with a block diagram and the software development with a flow diagram. | CO 6/ C | 14 |
|  | b. | Describe the interfacing methods for stepper motor with microcontroller. | CO 6/ A | 6 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Discuss the basics of embedded systems and its hardware units |
| CO2 | Identify the various tools and development process of embedded system |
| CO3 | Create the programming for embedded system design |
| CO4 | Demonstrate the various I/O interfacing with microcontroller |
| CO5 | Summarize the real time models, languages and operating systems |
| CO6 | Design a real time embedded system for biomedical applications |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 4 | 12 | - | - | - | - | 16 |
| CO2 | - | 16 | - | - | - | - | 16 |
| CO3 | - | 16 | - | - | 12 | 4 | 32 |
| CO4 | - | - | - | - | - | 16 | 16 |
| CO5 | 4 | 16 | - | 12 | - | - | 32 |
| CO6 | - | - | 6 | - | - | 14 | 20 |
|  |  |  |  |  |  |  | 132 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3015 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # REHABILITATION ENGINEERING | # Max. Marks : | # 100 |

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
|  |  | PART – A (5 X 16 = 80 MARKS) (Answer any five from the following) |  |  |
| 1. |  | Classify the types of disability and methods of rehabilitation. | CO1 / An | 16 |
| 2. |  | Evaluate the performance of ultrasonic sensors employed in rehabilitation and explain the applications. | CO2 / E | 16 |
| 3. |  | Give few applications of robots in rehabilitation. | CO3 / A | 16 |
| 4. | a. | Evaluate the design parameters of prosthetic device for the upper limb. | CO5 / C | 10 |
|  | b. | Enlist the applications of prosthetic devices. | CO4 / A | 6 |
| 5. |  | Confer details on the robot assisted rehabilitation therapy. | CO5 / An | 16 |
| 6. | a. | Discuss the gadgets for mobility for the locomotor disabled subjects. | CO3 / R | 10 |
|  | b. | Illustrate the applications of internet of things in rehabilitation. | CO3 / A | 6 |
| 7. | a. | Illustrate the various stages in human motion analysis. | CO4 / U | 10 |
|  | b. | Identify the challenges in design of wheel chair. | CO5 / E | 6 |
| PART – B (1 X 20 = 20 MARKS) (Compulsory Question) |  |  |  |  |
| 8. | a. | Evaluate the controlsystem in exoskeleton based on human myoelectric signals. | CO6 / E | 10 |
|  | b. | Develop the application forassisting the daily living conditions of disabled subjects. | CO6 / C | 10 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Describe the basic terminology in rehabilitation and models for societal applications |
| CO2 | Classify the sensors and actuators for particular applications. |
| CO3 | Discover the new methodology and systems for societal needs related to disability |
| CO4 | Compare the devices and methods under various environmental conditions |
| CO5 | Criticize the design, performance, cost, user need and affordability |
| CO6 | Develop the products based on cost effectiveness, user needs, environment friendly |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 |  |  |  | 16 |  |  | 16 |
| CO2 |  |  |  |  | 16 |  | 16 |
| CO3 | 10 |  | 22 |  |  |  | 32 |
| CO4 |  | 10 | 6 |  |  |  | 16 |
| CO5 |  |  |  | 16 | 6 | 10 | 32 |
| CO6 |  |  |  |  | 10 | 10 | 20 |
|  |  |  |  |  |  |  | 132 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3016 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # MACHINE LEARNING FOR HEALTHCARE | # Max. Marks : | # 100 |

ANSWER ALL QUESTIONS (5 X 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | What are the advantages and disadvantages of SVM? | CO1 / U | 4 |
|  | b. | Illustrate the working of decision trees with an example. | CO1 / A | 16 |
| (OR) |  |  |  |  |
| 2. | a. | What are the advantages and disadvantages of logistic regression? | CO1 / U | 4 |
|  | b. | Illustrate the working ofNearest neighbor method with an example. | CO1 / A | 16 |
| 3. | a. | Contrast between Supervised Learning and Unsupervised Learning. | CO2 / A | 5 |
|  | b. | Evaluate mathematically how k-means clustering algorithm is used to divide data into two clusters. X1; 1; 2; 2; 3; 4; 5. X2; 1; 1; 3; 2; 3; 5. | CO2 / E | 15 |
| (OR) |  |  |  |  |
| 4. | a. | Contrast between Semi-Supervised Learning and Unsupervised Learning. | CO2 / A | 5 |
|  | b. | Evaluate mathematically howkernel K means algorithm is used to divide data into two clusters. X1; 6; 2; 2; 3; 5; 5. X2; 5; 1; 3; 2; 3; 8. | CO2 / E | 15 |
| 5. | a. | Define ensemble methods. | CO3 / R | 5 |
|  | b. | Illustrate the working ofbagging method. | CO3 / A | 15 |
| (OR) |  |  |  |  |
| 6. | a. | Define random forest. | CO3 / R | 5 |
|  | b. | Illustrate the working ofboosting method. | CO3 / A | 15 |
| 7. | a. | Illustrate the working of deep feed forward networks. | CO4 / A | 12 |
|  | b. | Compare and contrastbetween the machine learning algorithms with examples. | CO5 / A | 8 |
| (OR) |  |  |  |  |
| 8. | a. | Illustrate the working ofCNN networks. | CO4 / A | 12 |
|  | b. | Compare and contrast between Bayesian and Active learning. | CO5 / A | 8 |
|  |  | Compulsory: |  |  |
| 9. |  | Analyze the importance of IoMT and Components with neat labelled diagram. Mention the advantages and limitations of IoMT. What are the various applications of IoMT? | CO6 / An | 20 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Describe features that can be used for a particular machine learning approach |
| CO2 | Classify contrast pros and cons of various machine learning techniques |
| CO3 | Illustrate various methods for developing the application |
| CO4 | Infer various machine learning approaches and paradigms. |
| CO5 | Choose the methods towards challenges |
| CO6 | Create solution to human problems in healthcare domain |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | - | 8 | 32 | - | - | - | 40 |
| CO2 | - | - | 10 | - | 30 | - | 40 |
| CO3 | 10 | - | 30 | - | - | - | 40 |
| CO4 | - | - | 24 | - | - | - | 24 |
| CO5 | - | - | 16 | - | - | - | 16 |
| CO6 | - | - | - | 20 | - | - | 20 |
|  |  |  |  |  |  |  | 180 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3027 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name : | # PROSTHETIC DEVICES | # Max. Marks : | # 100 |

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (5 X 16 = 80 MARKS) (Answer any five from the following) |  |  |  |  |
| 1. | a. | Describe the different types of prosthetic devices with the help of the anatomy of Upper limb and lower limb. | CO1 / U | 10 |
|  | b. | List the structural components of a prosthetic limb. | CO1 / R | 6 |
| 2. | a. | Compare the features of body powered prosthesis, Electric powered prosthesis and Cosmetic prosthesis. | CO2 / AN | 10 |
|  | b. | Elaborate on the 27 DoF of human hand. | CO2 / A | 6 |
| 3. | a. | Describe about the different types of Tactile Sensors used in Prosthetic devices to analyze on the sense of touch and the amount of force applied. | CO4 / U | 8 |
|  | b. | Discuss on the different types of translational and rotary motions. | CO4 / U | 8 |
| 4. | a. | Elaborate on the different types of materials used in materials used in 3D printing. | CO5 / AN | 10 |
|  | b. | Comment on the terminology Support structure in 3D printing and differentiate between support structure and Infill. | CO5 / A | 6 |
| 5. |  | Elaborate on the different types of 3D printing technologies and discuss its advantages and disadvantages. | CO5 / U | 16 |
| 6. | a. | Discuss about the different phases of walking and the steps involved in different phase. | CO6 / AN | 10 |
|  | b. | Comment on the terminologies Step length, stride length and walking base. | CO6 / A | 6 |
| 7. | a. | Enumerate on the different types of abnormal gait. | CO6 / AN | 12 |
|  | b. | Describe the different types of muscle contraction. | CO6 / U | 4 |
| PART – B (1 X 20 = 20 MARKS) (Compulsory Question) |  |  |  |  |
| 8. | a. | Compare the features of Anthromorphic and Nonanthromorphic prosthetic devices. | CO3 / AN | 8 |
|  | b. | Brief about the Bebionic arm and discuss about the features of iLimb. | CO3 / U | 8 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Understand challenges and scope of artificial limbs to human |
| CO2 | Design Sensors and Control System for positioning and movement |
| CO3 | Learn the basic of actuators and applications |
| CO4 | Apply the material fabrication and testing |
| CO5 | Develop applications in assist devices for limbs. |
| CO6 | Implement medical device regulation |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 6 | 10 | - | - | - | - | 16 |
| CO2 | - | - | 10 | 6 | - | - | 16 |
| CO3 | - | 8 | - | 8 | - | - | 14 |
| CO4 | - | 16 | - | - | - | - | 16 |
| CO5 | - | 16 | 10 | 6 | - | - | 32 |
| CO6 | - | 4 | 22 | - | - | - | 26 |

Reg. No. _____________

End Semester Examination – May/ June – 2022

| # Code : | # 21BM3031 | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name: | # ADVANCED MEDICAL IMAGE PROCESSING | # Max. Marks: | # 100 |

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| PART – A (5 X 16 = 80 MARKS) (Answer any five from the following) |  |  |  |  |
| 1. | a. | Explain the various components of digital Image Processing and brief their significance in medical imaging perspective. | CO1 / R | 05 |
|  | b. | Explain the stages of breast cancer and how mammographic imaging is used for diagnosis. | CO1 / A | 05 |
|  | c. | What is CAD system and explain how its performance is measured for diagnostic information. | CO1 / A | 06 |
| 2. | a. | Explain the spatial domain filters used for Noise reduction in medical images. | CO2 / An | 08 |
|  | b. | Explain the how image enhancement is achieved by spatial domain transformation methods. | CO2 / U | 08 |
| 3. | a. | Explain the how super resolution and Richardson –Lucy method help in restoration of degraded medical images | CO3 / U | 08 |
|  | b. | Compare and illustrate the features of Inverse Filter, Wiener Filter and Constrained Least Squares filters in image restoration process | CO3 / A | 08 |
| 4. | a. | Explain in detail about Split and Merge and Histogram based image segmentation methods | CO4 / A | 08 |
|  | b. | Explain in detail edge detection operators used for image segmentation | CO4 / An | 08 |
| 5. | a. | Explain in detail about different features used in medical images | CO5 / U | 06 |
|  | b. | Illustrate the significance of shape related features in the analysis of medical images. | CO5 / R | 10 |
| 6. | a. | Explain in detail edge detection operators used for image segmentation | CO4 / An | 08 |
|  | b. | Explain in detail about the systematic evaluation and validation of segmentation algorithms | CO4 / An | 08 |
| 7. | a. | Explain about K-Means clustering and its application in medical images | CO4 / U | 10 |
|  | b. | What are the different types noise in medical images and explain the filters used to avoid them | CO2 / R | 06 |

| PART – B (1 X 20 = 20 MARKS) (Compulsory Question) |  |  |  |  |
| --- | --- | --- | --- | --- |
| 8. | a. | Explain the applications of Deep Learning in Nodule detection in Lung images and Cancer detection in skin images | CO6 / A | 10 |
|  | b. | Propose a tentative image processing model for the cancer diagnosis of a brain image with the correct imaging modality and including all the aspects of image processing. | CO6 / C | 10 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Summarize the concepts of digital image processing techniques. |
| CO2 | Identify the noise and apply filters for medical image applications |
| CO3 | Determine the restoration for medical images. |
| CO4 | Implement segmentation and evaluation techniques. |
| CO5 | Apply the Featuring engineering on medical images. |
| CO6 | Develop systems for medical image processing and analysis for diagnosis |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | 5 |  | 11 |  | - | - | 16 |
| CO2 | 06 | 08 | - | 08 | - | - | 22 |
| CO3 | - | 08 | 08 | - | - | - | 16 |
| CO4 | - | 10 | 08 | 24 | - | - | 42 |
| CO5 | 10 | 06 | - | - | - | - | 16 |
| CO6 | - | - | 08 | - | - | 08 | 16 |
|  |  |  |  |  |  |  | 128 |

Reg. No. _____________

End Semester Examination – June – 2022

| # Code : | # 21BM3031_PHD | # Duration : | # 3hrs |
| --- | --- | --- | --- |
| # Sub. Name: | # ADVANCED MEDICAL IMAGE PROCESSING | # Max. Marks: | # 100 |

ANSWER ALL QUESTIONS (5 X 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome / Pattern | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Sketch the block diagram of medical image processing with brief explanation for the processes involved in it. | CO1 / A | 10 |
|  | b. | Summarize the significance of Ultrasonic Imaging Modality. | CO1 / U | 5 |
|  | c. | Explain in detail about frequency domain medical image enhancement. | CO1 / U | 3 |
|  | d. | Point out the difference between TP and TN. | CO1 / A | 2 |
| (OR) |  |  |  |  |
| 2. | a. | Sketch the block diagram of a typical CAD system with brief explanation for processes involved in it. | CO1 / A | 10 |
|  | b. | Summarize the significance of Mammographic Imaging Modality. | CO1 / U | 5 |
|  | c. | Explain in detail about spatial domain medical image enhancement. | CO1 / U | 3 |
|  | d. | Point out the differences between sensitivity and specificity. | CO1 / A | 2 |
| 3. | a. | Discuss in detail about any three smoothing domain filters with necessary diagrams and equations. | CO2 / U | 15 |
|  | b. | Identify the different sources of noises in medical images? | CO2 / A | 5 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss in detail about High pass, low pass and high boost filters with the respective masks used. | CO2 / U | 15 |
|  | b. | Identify the different available techniques for reduction of noises in medical images? | CO2 / A | 5 |
| 5. | a. | Apply mathematical background and analyze the modelling of degraded medical images. | CO3 / An | 12 |
|  | b. | Discuss in detail about Super resolution method with block diagram. | CO3 / U | 8 |
| (OR) |  |  |  |  |
| 6. | a. | Apply mathematical background and analyze the restoration of medical images using Inverse and Wiener filters. | CO3 / An | 12 |
|  | b. | Discuss in detail about blur modelling and estimation in degraded medical images with diagrams. | CO3 / U | 8 |
| 7. | a. | How image segmentation is carried out using point, line and edge detection methods? | CO4 / A | 12 |
|  | b. | Illustrate the significance of selection of features in the analysis of medical images. | CO5 / A | 8 |
| (OR) |  |  |  |  |
| 8. | a. | How image segmentation is carried out using split and merge, region growing and watershed methods. | CO4 / A | 12 |
|  | b. | Illustrate the significance of shape related features in the analysis of medical images. | CO5 / A | 8 |

|  |  | Compulsory: |  |  |
| --- | --- | --- | --- | --- |
| 9. | a. | Propose a tentative image processing model for the cancer diagnosis of a Lung image with the correct imaging modality and including all the aspects of image processing. | CO6 / C | 20 |

|  | COURSE OUTCOMES |
| --- | --- |
| CO1 | Summarize the concepts of digital image processing techniques. |
| CO2 | Identify the noise and apply filters for medical image applications. |
| CO3 | Determine the restoration for medical images. |
| CO4 | Implement segmentation and evaluation techniques. |
| CO5 | Apply the featuring engineering on medical images. |
| CO6 | Develop systems for medical image processing and analysis for diagnosis. |

| Assessment Pattern as per Bloom’s Taxonomy |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CO / P | Remember | Understand | Apply | Analyze | Evaluate | Create | Total |
| CO1 | - | 16 | 24 | - | - | - | 40 |
| CO2 | - | 30 | 10 | - | - | - | 40 |
| CO3 | - | 16 | - | 24 | - | - | 40 |
| CO4 | - | - | 24 | - | - | - | 24 |
| CO5 | - | - | 16 | - | - | - | 16 |
| CO6 | - | - | - | - | - | 20 | 20 |
|  |  |  |  |  |  |  | 180 |